SOP4 Version1 dated 09-08-05

- Additional Rules For Handling Genetically Modified Fungal Cultures

2nd Floor Laboratory ERC

University of Manchester

In accordance with “The management, design and operation of microbiological containment laboratories. Advisory Committee on Dangerous Pathogens (ACDP). 2001. HSE Books. ISBN 0 7176 2034 4.” and “Advisory Committee on Genetic Modification (ACGM) Compendium of Guidance. 2000. HSE Books. ISBN 0-7176-1763-7.”

Author: Dr P Bowyer

Next review Jan 2012

Notes: Reviewed 16/1/06

reviewed Jan 2008 no changes

reviewed Jan 2010 no changes

1. 		All Petri dishes containing GM Aspergillus fumigatus must only be opened in CL2 hoods.

2.		Plates must be sealed with parafilm before removal from the CL2 hood

3.		On completion of work the work station and all equipment must be IMMEDIATELY disinfected using 10% Trigene.

4. 		Hoods are to be disinfected and swabbed down every week (or according to 3 as appropriate).

5.		Samples must be centrifuged in sealed safety buckets and where possible in ‘o’-ring sealed tubes.

6.		All cultures of GM A.fumigatus must be clearly labelled with strain, date of inoculation, media type, antibiotic type and concentration and operator name. Additionally plates containing GM Aspergillus must be clearly labelled with red marker or red adhesive labels.

7.		All solid media cultures of A.fumigatus must be autoclaved for 30 min at 121oC before disposal

7. 		All GM A.fumigatus liquid waste materials must be made safe before disposal by addition of Trigene to 10% for an overnight soak followed by autoclaving for 30 min at 121oC. During disinfection glassware or equipment must be placed within the enclosed metal disposal boxes provided.

8.		All used culture containers for reuse (including glassware and used equipment) must be immersed in 10% Trigene overnight before autoclaving. During disinfection glassware or equipment must be placed within the enclosed metal disposal boxes provided. Equipment (including glassware) may then be washed out prior to reuse.

9.		Surfaces must be disinfected with 10% Trigene following spillages (for large spills use Trigene granules).  Bench tops must be disinfected after use.

10.		Cultures must be transported from CL2 hoods to storage or equipment within the large unbreakable sealed boxes provided.

11. 		Waste cultures and disposable plasticware must be transported to the autoclave in the large unbreakable sealed boxes provided.

- The above rules must be followed whilst in the laboratory.

............................................

- Head of Laboratory